## Instructions
Instructions for use of
Recessed Passive Chilled Beam Calc V.1
A. | Five cells must have data in them for the program to select a coil.
| 1. | Input desired Room Temperature in oF.
| 2. | Input the Maximum Maintainable Relative Humidity (%).
|  | - | This is the maximum relative humidity that can be maintained (controlled) in space.
| 3. | Input the Supply Water Temperature in oF.
|  | - | The dew point temperature is calculated by methods laid out in the ASHRAE Fundamentals Handbook.
|  | - | A recommended supply temperature is provided. This value is 2o higher than the rounded up dew point temperature.
|  | - | This value must be above the calculated dew point temperature.
| 4. | Input the Return Water Temperature.
|  | - | This value must be higher than the supply water temperature.
|  | - | Typically, this value is 3-4o above the supply water temperature.
|  | - | This value cannot be greater than 6o above the supply water temperature.
| 5. | Input the Output per linear foot. (Btuh/LF)
|  | - | This is the cooling required per linear foot of the coil.
|  | - | The Terminal Velocity 3ft below the beam is displayed below this input. This value is what the velocity would be for this output. If the selected beam's output is larger than required, the actual velocity may be higher. The velocity is calculated for each beam selected.
B. | Additional Inputs are used to make a more detailed selection. If they are left blank, certain assumptions are made for a selection. However, to select the length of the beam, the active coil length must be input.
| 1. | Free Air of ceiling panel below coil.
|  | - | This is where the % perforation below the coil is input. A value from the drop-down box can be selected.
|  | - | If no value is selected, 50% is assumed. 50% allows the maximum output of the beam.
|  | - | If the perforation is to be painted, be sure the percentage input is what the perforation will be after it is painted.
| 2. | Available Ceiling Space.
|  | - | This value is the distance of the vertical ceiling void in inches.
|  | - | If no value is selected, then the ceiling void is assumed to be larger than 25 inches.
| 3. | # of chilled beams connected in series.
|  | - | This value is used to calculate the flow rate.
|  | - | This value is not used to calculate pressure drop. Any calculated pressure drop is per coil. If beams are to be connected in series, the connections and how the beams will be placed need to be taken into account to calculate the total pressure drop.
| 4. | Chilled beam active coil length.
|  | - | This is the length of the coil.
|  | - | This value does not take into account the added length of the beam connections or flanges.
C. | Ordering Information
| 1. | Both solutions are displayed. Several dimensions are displayed.
| 2. | Add quantities desired.
| 3. | Specify whether natural aluminum or black colored fins are desired. The black fins incur an additional cost.

## Calculation
TROX Type TCB Calculation
1/2" NPT Male Extend 2" from coil bends
[11 empty] | 2 | Alternate Solution
| Input information in shaded cells | [9 empty] | 2 | Oversized (BTUh/ft)
[5 empty] | Project |  |  | Room No. | Comments |  | 5 | Rows
| Room Conditions | [9 empty] | 4 | Width (in.)
| Room Temperature (oF) | [9 empty] | 3 | Height (in.)
| Max. Maintainable Relative Humidity | [9 empty] | 9 | Ceiling Void (in.)
| Calculated Dew Point Temperature | [10 empty] | Terminal Velocity (fpm)
| Recommended Supply Temperature (oF) |  |  |  |  | All Values in inches. (Not to Scale) |  |  | 1/2" NPT Male |  | 10 | Flow Rate (gpm)
[9 empty] | Extend 2" from coil bends |  |  | Pressure Drop/Coil |  | in. wtr. | psi
| Required Inputs | [9 empty] | 11 | Single Circuit
| Supply Water Temperature (oF) | [9 empty] | 12 | Dual Circuit | [9 empty] | All Values in inches. (Not to Scale)
| We recommend supply water temperature be a minimum 2o above the Dew Point Temperature. | [9 empty] | 18 | Weight of Beam (lbs.)
Return Water Temperature (oF)
| Return Water Temperature is typically 3-4o above Supply. | [10 empty] | Coil Code
| Mean Water Temperature (oF) | [10 empty] | Single Circuit | [9 empty] | Free Air
| ∆t (Room temp. - Mean Coil temp.) | [10 empty] | Dual Circuit
Btuh/LF required (Btuh/ft)
| Terminal Velocity measured 3ft below beam (fpm) | [10 empty] | Shaded Values differ from Best Solution
Free Air of ceiling panel below coil
Available Ceiling Cavity (in.)
# of chilled beams connected in series *
Chilled beam case length (ft.) **
| *This value used to calculate flow rate. |  |  | Nominal Coil Fin Length |  |  |  | Overall Beam Case Length
**This value used to calculate flow rate and weight of Beam.
Hidden Small Number Below
| Required Space between Parallel Beams |  | 6ft. ctrs
1
Hidden Row_desired shown below | Best Solution
2 | Oversized (BTUh/ft) | No |  | If no solutions are found, try adjusting the Output/LF required, the Return Water Temperature, or one of the Optional Inputs.
5 | Rows | Solutions
4 | Width (in.) | Found | [5 empty] | Free Air | 50%
3 | Height (in.) | [14 empty] | Ordering Information
9 | Ceiling Void (in.)
| Terminal Velocity (fpm) | [6 empty] | Cool Air | Cool Air
10 | Flow Rate (gpm) | [5 empty] | Warm Room Air |  |  | Warm Room Air |  |  | Active Coil Dimensions (in.) |  | Total Beam Dimensions (in.) |  |  | Rows | Circuit | Order Code | Quantity
| Pressure Drop/Coil | in. wtr. | psi |  |  | Ceiling Tile |  | Minimum Width |  | Perforation
11 | Single Circuit | [5 empty] | required for Supply and Return Area. | [5 empty] | Width | Length | Width | Height | Length
12 | Dual Circuit | [5 empty] | Beam must be in center. |  |  |  |  | Best Solution | [5 empty] | Solutions | Single
18 | Weight of Beam (lbs.) | [17 empty] | Dual
| Pressure Drop/Coil values in Red exceed 80 in. wtr. and could lead to water noise. Pressure Drop is not calculated if flow rate is below minimum. |  |  |  |  | Coil Code | [5 empty] | Alternate Solution | [6 empty] | Single
[6 empty] | Single Circuit | [12 empty] | Dual
[6 empty] | Dual Circuit | [13 empty] | Total Number of Beams =
Cosmetic Choice: Please specify either Natural or Black colored, aluminum fins. Black fins incur an additional cost.
*Calculations should be reviewed by TROX USA.
Trox USA, Inc.
926 Curie Drive
Alpharetta, GA 30005
Telephone 770-569-1433
Facsimile 770-569-1435
www.troxusa.com
e-mail TCB@troxusa.com
Trox USA, Inc.
926 Curie Drive
Alpharetta, GA 30005
Telephone 770-569-1433
Facsimile 770-569-1435
www.troxusa.com
e-mail TCB@troxusa.com

## Single Calculations
Calculate Weight of Beam | Calculate Pressure Drop over a Single Chilled beam coil
Beam Width (in.)
Case Length (ft.) | Single/Dual Circuit
Number of Rows | Rows
Weight | Width (in.)
Single Coil Length (ft.)
GPM
Pressure Drop (in.wtr.)
Information required in shaded cells. |  | Row |  | Available Value
|  | 1 | 2
|  | 8 | 14 | 14
|  | 10 | 16 | 16
|  | 12 | 18 | 18
|  | 14 | 20 | 20
|  | 16 | 22 | 22
|  | 18 | 24 | 24
|  | 20 | 26 | 26
|  | 22 | 28 | 28
24

## Performance USA (hidden)
|  |  | Beam width - coil type 1 row | [11 empty] | Beam width - coil type 1 row | [11 empty] | Beam width - coil type 1 row
Actual Convert (F) | DT (room temperature - mean water) |  | 206 | 250mm stack 206 | 300mm stack 206 | 257 | 250mm stack 257 | 300mm stack 257 | 308 | 250mm stack 308 | 300mm stack 308 | 359 | 250mm stack 359 | 300mm stack 359 | 409 | 250mm stack 409 | 300mm stack 409 | 460 | 250mm stack 460 | 300mm stack 460 | 511 | 250mm stack 511 | 300mm stack 511 | 562 | 250mm stack 562 | 300mm stack 562 | 613 | 250mm stack 613 | 300mm stack 613 | 664 | 250mm stack 664 | 300mm stack 664 | 715 | 250mm stack 715 | 300mm stack 715 | m | c | [5 empty] | 21C | 22C | 23C | 24C |  |  | @21 | @22 | @23 | @24
| F | K | 8" |  |  | 10" |  |  | 12" |  |  | 14" |  |  | 16" |  |  | 18" |  |  | 20" |  |  | 22" |  |  | 24" |  |  | 26" |  |  | 28"
7.2007 | 7.0002 | 4 | 63.2295 | 67 | 70 | 73.2733 | 77 | 81 | 84.0457 | 89 | 93 | 95.5467 | 101 | 106 | 107.7763 | 114 | 119 | 120.7344 | 127 | 133 | 128.0201 | 135 | 141 | 135.3058 | 143 | 149 | 142.5915 | 150 | 157 | [6 empty] | 0.14286 | 55.0203 |  |  | 300W/m |  |  | 17.111 | 18.111 | 19.111 | 20.111 | 3.889 | 4 | 7.0002 | 7.0002 | 7.0002 | 7.0002
19.802 | 20.0002 | 11 | 172.515 | 182 | 190 | 199.8363 | 210 | 220 | 229.1352 | 241 | 253 | 260.4117 | 274 | 287 | 293.6657 | 309 | 324 | 328.8973 | 346 | 362 | 348.6728 | 367 | 384 | 368.4482 | 387 | 406 | 388.2237 | 408 | 428 | [6 empty] | 0.38775 | 150.5303 |  |  | 300 |  |  | 9.8888 | 10.8888 | 11.8888 | 12.8888 | 11.1112 | 11 | 20.0002 | 20.0002 | 20.0002 | 20.0002
|  |  | Beam width - coil type 2 row | [11 empty] | Beam width - coil type 2 row | [11 empty] | Beam width - coil type 2 row | [8 empty] | Eq'n of straight line
Actual Convert (F) | DT (room temperature - mean water) |  | 206 | 250mm stack 206 | 300mm stack 206 | 257 | 250mm stack 257 | 300mm stack 257 | 308 | 250mm stack 308 | 300mm stack 308 | 359 | 250mm stack 359 | 300mm stack 359 | 409 | 250mm stack 409 | 300mm stack 409 | 460 | 250mm stack 460 | 300mm stack 460 | 511 | 250mm stack 511 | 300mm stack 511 | 562 | 250mm stack 562 | 300mm stack 562 | 613 | 250mm stack 613 | 300mm stack 613 | 664 | 250mm stack 664 | 300mm stack 664 | 715 | 250mm stack 715 | 300mm stack 715 | m | c
| F | K | 8" |  |  | 10" |  |  | 12" |  |  | 14" |  |  | 16" |  |  | 18" |  |  | 20" |  |  | 22" |  |  | 24" |  |  | 26" |  |  | 28"
7.2007 | 7.0002 | 4 | [9 empty] | 62.7611 | 66 | 70 | 83.057 | 88 | 92 | 105.1222 | 111 | 116 | 121.7753 | 128 | 134 | 139.4691 | 147 | 154 | 157.1629 | 166 | 173 | 173.816 | 183 | 192 | 191.5098 | 202 | 211 | 0.34014 | -51.34
19.802 | 20.0002 | 11 | [9 empty] | 324.1095 | 341 | 357 | 395.5094 | 416 | 436 | 474.6113 | 499 | 523 | 531.8561 | 559 | 586 | 589.1008 | 619 | 649 | 647.3864 | 680 | 713 | 704.6312 | 740 | 776 | 761.876 | 800 | 839 | 1.1292 | -44.8434
|  | 11.5 | [32 empty] | 889
|  | 12 | [32 empty] | 939
|  | 12.5 | [32 empty] | 989 |  |  | 12.5K | 22.5F
[35 empty] | 1014 |  |  | 12.75
[35 empty] | 1039 |  |  | 13K
Values found from information on Input for Perf. USA sheet
|  | 1 ROW | [32 empty] | 2 ROW
| Cost Rank | 4.1 | 4.3 | 4.5 | 5.1 | 5.3 | 5.5 | 6.1 | 6.3 | 6.5 | 7.1 | 7.3 | 7.5 | 8.1 | 8.3 | 8.5 | 9.1 | 9.3 | 9.5 | 10.1 | 10.3 | 10.5 | 11.1 | 11.3 | 11.5 | 12.1 | 12.3 | 12.5 | 13.1 | 13.3 | 13.5 | 14.1 | 14.3 | 14.5 | 8.2 | 8.4 | 8.6 | 10.2 | 10.4 | 10.6 | 12.2 | 12.4 | 12.6 | 14.2 | 14.4 | 14.6 | 16.2 | 16.4 | 16.6 | 18.2 | 18.4 | 18.6 | 20.2 | 20.4 | 20.6 | 22.2 | 22.4 | 22.6 | 24.2 | 24.4 | 24.6 | 26.2 | 26.4 | 26.6 | 28.2 | 28.4 | 28.6
| Displayed | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Oversized | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| ∆T (K) | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12 | 8 | 10 | 12
| 0 | 8 | 8 | 8 | 10 | 10 | 10 | 12 | 12 | 12 | 14 | 14 | 14 | 16 | 16 | 16 | 18 | 18 | 18 | 20 | 20 | 20 | 22 | 22 | 22 | 24 | 24 | 24 | 26 | 26 | 26 | 28 | 28 | 28 | 8 | 8 | 8 | 10 | 10 | 10 | 12 | 12 | 12 | 14 | 14 | 14 | 16 | 16 | 16 | 18 | 18 | 18 | 20 | 20 | 20 | 22 | 22 | 22 | 24 | 24 | 24 | 26 | 26 | 26 | 28 | 28 | 28
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
| 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 1108 | 1108 | 1108 | 1110 | 1110 | 1110 | 1112 | 1112 | 1112 | 1114 | 1114 | 1114 | 1116 | 1116 | 1116 | 1118 | 1118 | 1118 | 1120 | 1120 | 1120 | 1122 | 1122 | 1122 | 1124 | 1124 | 1124 | 1126 | 1126 | 1126 | 1128 | 1128 | 1128 | 1208 | 1208 | 1208 | 1210 | 1210 | 1210 | 1212 | 1212 | 1212 | 1214 | 1214 | 1214 | 1216 | 1216 | 1216 | 1218 | 1218 | 1218 | 1220 | 1220 | 1220 | 1222 | 1222 | 1222 | 1224 | 1224 | 1224 | 1226 | 1226 | 1226 | 1228 | 1228 | 1228
|  | 2108 | 2108 | 2108 | 2110 | 2110 | 2110 | 2112 | 2112 | 2112 | 2114 | 2114 | 2114 | 2116 | 2116 | 2116 | 2118 | 2118 | 2118 | 2120 | 2120 | 2120 | 2122 | 2122 | 2122 | 2124 | 2124 | 2124 | 2126 | 2126 | 2126 | 2128 | 2128 | 2128 | 2208 | 2208 | 2208 | 2210 | 2210 | 2210 | 2212 | 2212 | 2212 | 2214 | 2214 | 2214 | 2216 | 2216 | 2216 | 2218 | 2218 | 2218 | 2220 | 2220 | 2220 | 2222 | 2222 | 2222 | 2224 | 2224 | 2224 | 2226 | 2226 | 2226 | 2228 | 2228 | 2228
25 | <-Ceiling Void | 11.6 | 13.6 | 15.6 | 12.5 | 14.5 | 16.5 | 13.4 | 15.4 | 17.4 | 14.3 | 16.3 | 18.3 | 15.2 | 17.2 | 19.2 | 16.1 | 18.1 | 20.1 | 17 | 19 | 21 | 17.9 | 19.9 | 21.9 | 18.8 | 20.8 | 22.8 | 19.7 | 21.7 | 23.7 | 20.6 | 22.6 | 24.6 | 11.6 | 13.6 | 15.6 | 12.5 | 14.5 | 16.5 | 13.4 | 15.4 | 17.4 | 14.3 | 16.3 | 18.3 | 15.2 | 17.2 | 19.2 | 16.1 | 18.1 | 20.1 | 17 | 19 | 21 | 17.9 | 19.9 | 21.9 | 18.8 | 20.8 | 22.8 | 19.7 | 21.7 | 23.7 | 20.6 | 22.6 | 24.6
| Flow Rate | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Pressure Drop | Single | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Dual | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Catalog Number Single | 8-1S-8 | 10-1S-8 | 12-1S-8 | 8-1S-10 | 10-1S-10 | 12-1S-10 | 8-1S-12 | 10-1S-12 | 12-1S-12 | 8-1S-14 | 10-1S-14 | 12-1S-14 | 8-1S-16 | 10-1S-16 | 12-1S-16 | 8-1S-18 | 10-1S-18 | 12-1S-18 | 8-1S-20 | 10-1S-20 | 12-1S-20 | 8-1S-22 | 10-1S-22 | 12-1S-22 | 8-1S-24 | 10-1S-24 | 12-1S-24 | 8-1S-26 | 10-1S-26 | 12-1S-26 | 8-1S-28 | 10-1S-28 | 12-1S-28 | 8-2S-8 | 10-2S-8 | 12-2S-8 | 8-2S-10 | 10-2S-10 | 12-2S-10 | 8-2S-12 | 10-2S-12 | 12-2S-12 | 8-2S-14 | 10-2S-14 | 12-2S-14 | 8-2S-16 | 10-2S-16 | 12-2S-16 | 8-2S-18 | 10-2S-18 | 12-2S-18 | 8-2S-20 | 10-2S-20 | 12-2S-20 | 8-2S-22 | 10-2S-22 | 12-2S-22 | 8-2S-24 | 10-2S-24 | 12-2S-24 | 8-2S-26 | 10-2S-26 | 12-2S-26 | 8-2S-28 | 10-2S-28 | 12-2S-28
| Catalog Number Dual | 8-1D-8 | 10-1D-8 | 12-1D-8 | 8-1D-10 | 10-1D-10 | 12-1D-10 | 8-1D-12 | 10-1D-12 | 12-1D-12 | 8-1D-14 | 10-1D-14 | 12-1D-14 | 8-1D-16 | 10-1D-16 | 12-1D-16 | 8-1D-18 | 10-1D-18 | 12-1D-18 | 8-1D-20 | 10-1D-20 | 12-1D-20 | 8-1D-22 | 10-1D-22 | 12-1D-22 | 8-1D-24 | 10-1D-24 | 12-1D-24 | 8-1D-26 | 10-1D-26 | 12-1D-26 | 8-1D-28 | 10-1D-28 | 12-1D-28 | 8-2D-8 | 10-2D-8 | 12-2D-8 | 8-2D-10 | 10-2D-10 | 12-2D-10 | 8-2D-12 | 10-2D-12 | 12-2D-12 | 8-2D-14 | 10-2D-14 | 12-2D-14 | 8-2D-16 | 10-2D-16 | 12-2D-16 | 8-2D-18 | 10-2D-18 | 12-2D-18 | 8-2D-20 | 10-2D-20 | 12-2D-20 | 8-2D-22 | 10-2D-22 | 12-2D-22 | 8-2D-24 | 10-2D-24 | 12-2D-24 | 8-2D-26 | 10-2D-26 | 12-2D-26 | 8-2D-28 | 10-2D-28 | 12-2D-28
1 Row | Count -> | 0 | [24 empty] | If values are added in green, max possible value must be changed from AC25 to AI25.
2 Row | Count -> | 0
Total Req. | Count -> | 0
Weight Calc (Aluminum) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Weight Calc (Black) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Adjustment for Ceiling | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Optimal Ceiling Void | 11.6 | 13.6 | 15.6 | 12.5 | 14.5 | 16.5 | 13.4 | 15.4 | 17.4 | 14.3 | 16.3 | 18.3 | 15.2 | 17.2 | 19.2 | 16.1 | 18.1 | 20.1 | 17 | 19 | 21 | 17.9 | 19.9 | 21.9 | 18.8 | 20.8 | 22.8 | 19.7 | 21.7 | 23.7 | 20.6 | 22.6 | 24.6 | 11.6 | 13.6 | 15.6 | 12.5 | 14.5 | 16.5 | 13.4 | 15.4 | 17.4 | 14.3 | 16.3 | 18.3 | 15.2 | 17.2 | 19.2 | 16.1 | 18.1 | 20.1 | 17 | 19 | 21 | 17.9 | 19.9 | 21.9 | 18.8 | 20.8 | 22.8 | 19.7 | 21.7 | 23.7 | 20.6 | 22.6 | 24.6
Pressure Drop | Single | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Dual | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
^Data Above used^ for Auditing Calculation Data |  | 0.1 | 0.3 | 0.5 | 0.1 | 0.3 | 0.5 | 0.1 | 0.3 | 0.5 | 0.1 | 0.3 | 0.5 | 0.1 | 0.3 | 0.5 | 0.1 | 0.3 | 0.5 | 0.1 | 0.3 | 0.5 | 0.1 | 0.3 | 0.5 | 0.1 | 0.3 | 0.5 | 0.1 | 0.3 | 0.5 | 0.1 | 0.3 | 0.5 | 0.2 | 0.4 | 0.6 | 0.2 | 0.4 | 0.6 | 0.2 | 0.4 | 0.6 | 0.2 | 0.4 | 0.6 | 0.2 | 0.4 | 0.6 | 0.2 | 0.4 | 0.6 | 0.2 | 0.4 | 0.6 | 0.2 | 0.4 | 0.6 | 0.2 | 0.4 | 0.6 | 0.2 | 0.4 | 0.6 | 0.2 | 0.4 | 0.6
|  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^ |  |  | ^Additions for Costs^
Calculate Pressure Drop
Single/Dual Circuit | 2
Rows | 2 | Codes for Coil Code
Width (in.) | 18 | Single Circuit, 1 Row | 1S
Single Coil Length (ft.) | 0 | Dual Circuit, 1 Row | 1D
GPM | #VALUE! | Single Circuit, 2 Row | 2S
Pressure Drop | #VALUE! | Dual Circuit, 2 Row | 2D | [32 empty] | Conversions from first Sheet, Data used in Lookup functions
[31 empty] | list for second sheet solutions | [6 empty] | K |  |  |  | Free Air Data |  |  | Free Area Correction Factors |  |  | Air Velocity 3ft below beam |  |  |  |  | Values for optional Return Temperature
[36 empty] | INPUT - Room Temperature |  | 255.3722 |  |  |  | % -> | 50% | [9 empty] | 1 | 1
Assumed Values | [41 empty] | Correction Factor | 1 |  | Free Area | Factor |  | qwk (BTU/ft) | V (fpm) |  |  |  | 2 | 2
Weight Single (lb/LF) | 12 | [34 empty] | Dew Point Temp. |  | #VALUE! | [6 empty] | 50% | 1 |  | 0 |  |  |  |  | 3 | 3
Weight Dual (lb/LF) | [27 empty] | Values for Coil Length Options | [16 empty] | 45% | 0.983 |  | 43 | 20 |  |  |  | 4 | 4
Extra Length (in.) | 5 | [26 empty] | 3 |  | 2 | #REF! |  |  |  |  | Water Temperature | INPUT - Supply | 255.3722 | [6 empty] | 40% | 0.95 |  | 49.1 | 21 |  |  |  | 5 | 5
Extra Width (in.) | 2 | [26 empty] | 3.5 |  | 3 | #REF! | [5 empty] | INPUT - Return | 255.3722 | [6 empty] | 35% | 0.905 |  | 55.2 | 22 |  |  |  | 6 | 6
[28 empty] | 4 |  | 4 | #REF! | [5 empty] | Mean | 255.3722 | oF | [5 empty] | 30% | 0.86 |  | 61.3 | 23 |  |  |  | 7 | 7
|  | Old Input Sheet, Some Cells still reference these. | [25 empty] | 4.5 |  | 5 | #REF! |  |  |  |  | ∆t (Room temp. - Mean Coil temp.) |  | 0 | 0 | [5 empty] | 28% | #VALUE! |  | 67.4 | 24 |  |  |  | 8 | 8
[5 empty] | oF | [22 empty] | 5 |  | 6 | #REF! | [13 empty] | 25% | 0.793 |  | 73.5 | 25 |  |  |  | 9 | 9
|  |  | INPUT - Room Temperature |  | 0 | [5 empty] | All values shown in inches. (Not to Scale) | [16 empty] | 5.5 |  | 7 | #REF! | [13 empty] | 20% | 0.6 |  | 79.6 | 26 |  |  |  | 10 | 10
|  |  | INPUT - Maximum Relative Humidity that can be maintain in the space |  | 0 | [9 empty] | % Free Air | [12 empty] | 6 |  | 8 | #REF! | [16 empty] | 85.7 | 27 |  |  |  | 11 | 11
|  |  | Dew Point Temperature | [11 empty] | 50% | [12 empty] | 6.5 |  | 9 | #REF! | [16 empty] | 91.8 | 28 |  |  |  | 12 | 12
[28 empty] | 7 |  | 10 | #REF! | [16 empty] | 97.9 | 29 |  |  |  | 13 | 13
|  |  | Water Temperature | INPUT - Supply | 0 | Recommended Supply Temperature | [21 empty] | 7.5 |  | 11 | #REF! | [16 empty] | 104 | 30 |  |  |  | 14 | 14
|  |  |  | INPUT - Return | 0 | [22 empty] | 8 | [19 empty] | 112.6 | 31 |  |  |  | 15 | 15
|  |  |  | Mean | [23 empty] | 8.5 | [19 empty] | 121.2 | 32 |  |  |  | 16 | 16
|  |  | ∆t (Room temp. - Mean Coil temp.) | [24 empty] | 9 | [19 empty] | 129.8 | 33 |  |  |  | 17 | 17
|  |  | Output/LF (BTU/ft) |  | 0 |  |  | # of chilled beams connected in series |  |  | 1 | * | [15 empty] | 9.5 | [19 empty] | 138.4 | 34 |  |  |  | 18 | 18
|  |  | Terminal Velocity measured 3ft below is |  |  |  |  | Chilled beam active coil length (ft) |  |  | 0 | * | [15 empty] | 10 | [19 empty] | 147 | 35 |  |  |  | 19 | 19
|  |  | Free Air of ceiling panel below coil |  | 50% | [5 empty] | *These values used to calculate gpm. | [16 empty] | 10.5 | [19 empty] | 155.6 | 36 |  |  |  | 20 | 20
[8 empty] | Available Ceiling Space (in.) | [19 empty] | 11 | [19 empty] | 164.2 | 37 |  |  |  | 21 | 21
|  |  | Number of Solutions Desired | [24 empty] | 11.5 | [19 empty] | 172.8 | 38 |  |  |  | 22 | 22
[28 empty] | 12 | [19 empty] | 181.4 | 39 |  |  |  | 23 | 23
|  |  | Solutions, Ranked by Cost ($ to $$$), First option is shown in top right Figure. | [44 empty] | 190 | 40 |  |  |  | 24 | 24
|  |  | Oversized (BTU/ft) | Rows (in.) | Width (in.) | Height (in.) | Ceiling Void (in.) | Air Velocity, 3ft below beam (fpm) | Flow Rate (gpm) | Recommendation based on flow rate. | Single/Dual Circuit | Pressure Drop per coil | [35 empty] | 202.2 | 41 |  |  |  | 25 | 25
|  | Hidden # for Solutions Desired | [9 empty] | in wtr. | psi | Notes | [33 empty] | 214.4 | 42
|  | 1 | [8 empty] | Single | These values were deleted due to formating |  | Red = High pressure may cause noise from water flow Yellow = How do you describe this? Green = Pressure is good? | [33 empty] | 226.6 | 43
|  | 1 | [8 empty] | Dual | [36 empty] | 238.8 | 44
|  | 2 | [8 empty] | Single | [36 empty] | 251 | 45
|  | 2 | [8 empty] | Dual | [36 empty] | 263.2 | 46
|  | 3 | [8 empty] | Single | [36 empty] | 275.4 | 47
|  | 3 | [8 empty] | Dual | [36 empty] | 287.6 | 48
|  | 4 | [8 empty] | Single | [36 empty] | 299.8 | 49
|  | 4 | [8 empty] | Dual | [36 empty] | 312 | 50
|  | 5 | [8 empty] | Single | [36 empty] | 326.8 | 51
|  | 5 | [8 empty] | Dual | [36 empty] | 341.6 | 52
|  | 6 | [8 empty] | Single | [36 empty] | 356.4 | 53
|  | 6 | [8 empty] | Dual | [36 empty] | 371.2 | 54
|  | 7 | [8 empty] | Single | [36 empty] | 386 | 55
|  | 7 | [8 empty] | Dual | [36 empty] | 400.8 | 56
|  | 8 | [8 empty] | Single | [36 empty] | 415.6 | 57
|  | 8 | [8 empty] | Dual | [36 empty] | 430.4 | 58
|  | 9 | [8 empty] | Single | [36 empty] | 445.2 | 59
|  | 9 | [8 empty] | Dual | [36 empty] | 460 | 60
|  | 10 | [8 empty] | Single | [36 empty] | 475.6 | 61
|  | 10 | [8 empty] | Dual | [36 empty] | 490.4 | 62
[10 empty] | NOTE: To change flow rate, change difference between Supply and Return temperatures. |  | Pressure Drop is not calculated if flow rate is below minimum. | [35 empty] | 505.2 | 63
[48 empty] | 520 | 64
[48 empty] | 543.5935 | 65
[48 empty] | 561.2475 | 66
[48 empty] | 579.1871 | 67
[48 empty] | 597.4123 | 68
[48 empty] | 615.9231 | 69
[48 empty] | 634.7195 | 70
[48 empty] | 653.8015 | 71
[48 empty] | 673.1691 | 72
[48 empty] | 692.8223 | 73
[48 empty] | 712.7611 | 74
[48 empty] | 732.9855 | 75
[48 empty] | 753.4955 | 76
[48 empty] | 774.2911 | 77
[48 empty] | 795.3723 | 78
[48 empty] | 816.7391 | 79
[48 empty] | 838.3915 | 80
[48 empty] | 860.3295 | 81
[48 empty] | 882.5531 | 82
[48 empty] | 905.0623 | 83
[48 empty] | 927.8571 | 84
[48 empty] | 950.9375 | 85
[48 empty] | 974.3035 | 86
[48 empty] | 997.9551 | 87
[48 empty] | 1021.8923 | 88
[48 empty] | 1046.1151 | 89
[48 empty] | 1070.6235 | 90
[48 empty] | 1095.4175 | 91
[48 empty] | 1120.4971 | 92
[48 empty] | 1145.8623 | 93
[48 empty] | 1171.5131 | 94
[48 empty] | 1197.4495 | 95
[48 empty] | 1223.6715 | 96
[48 empty] | 1250.1791 | 97
[48 empty] | 1276.9723 | 98
[48 empty] | 1304.0511 | 99
[48 empty] | 1331.4155 | >100
Chilled Beam